## Slide 1
Process Control: Introduction to Quality Control

## Slide 2: Learning Objectives
At the end of this module, participants should be able to:
Define quality control and describe its relationship to the overall quality management system.
Describe differences in quantitative, qualitative, and semi-quantitative examinations.

## Slide 3: The Quality Management System
Organization
Personnel
Equipment
Purchasing & Inventory
Process Control
Information Management
Documents & Records
Occurrence Management
Assessment
Process Improvement
Customer Service
Facilities & Safety
Notes: 3

## Slide 4: Definition
Quality Control (QC) is part of quality management focused on fulfilling quality requirements ISO 9000:2000 (3.4.10)
QC is examining “control” materials of known substances along with patient samples to monitor the accuracy and precision of the complete examination (analytic) process.

## Slide 5: Purpose
The goal of QC is to detect errors and correct them before patients’ results are reported

## Slide 6: Quantitative Examinations
Measure the quantity of a particular substance in a sample
Measurements should be both accurate and precise

## Slide 7: Qualitative Examination Methods
Examinations that do not have numerical results:
  growth or no growth
  positive or negative
  reactive or non-reactive
  color change

## Slide 8: Semi-quantitative Examination Methods
Results are expressed as an estimate of the measured substance:
“trace amount”, “moderate amount,” or “1+, 2+, or 3+”
number of cells per microscopic field
titers and dilutions in serologic tests
Notes: 8

## Slide 9
QC Program Steps
include corrective actions

## Slide 10: QC Summary
important part of quality management system
goal is to identify errors and eliminate them before reporting patient results
different methods applied for quantitative, qualitative, and semi-quantitative results